| Course code | Course name | Course Category | L-T-P | Credits |
| --- | --- | --- | --- | --- |
| 22BEXY05 | Biosensors and Bioelectronics | Open free elective | 3-1-0 | 4 |

Biosensors and Bioelectronics

Course Learning Objectives:

- To understand the use of biomolecues as recognition elements for detection of a particular analyte and the use of biological elements such as proteins in place of silicon chips and learn the basic concepts in biosensing and bioelectronics

- To be able to understood and learn transducers in biosensors

- To be able to solve typical problems in biosensing  and applications and  learn about the remaining challenges in this field

- To learn biomolecutes and functioning concept

- To learn basic concepts of developments towards biomolecular computer

- To be able to understood commercial  prospects for biomolecular computing system.

Course Content:

Unit- I: Introduction of Biosensors						(6 hours)

Advantages and limitations, various components of biosensors Biocatalysis based biosensors, Bioaffinity based biosensors & Microorganisms based biosensors, Biologically active material and analyte. Types of membranes used in biosensor constructions.

Unit- II: Transducers in biosensors					(6 hours)

Various types of transducers; principles and applications - Calorimetric, Optical, Potentiometric / Amperometric, Conductometric / Resistometric, Piezoelectric, Semiconductor, Impedimetric, Chemiluminiscene - based Biosensors.

Unit- III: Application and uses of biosensors				(9 hours)

Biosensors in clinical chemistry, medicine and health care, biosensors for veterinary, agriculture and food Low cost - biosensor for industrial processes for online monitoring; biosensors for environmental monitoring. Application of enzymes in analysis; design of enzyme electrodes and their application as biosensors in industry, healthcare, food and environment.

Unit- IV: Molecules of life							(9 hours)

Monomeric units and polymeric structures. Discuss about sugars, starch and cellulose. Amino acids and proteins. Nucleotides and DNA/RNA. Two carbon units and lipids.

Unit-V: Bioelectronics							(9 hours)

Potential advantages & Developments towards a biomolecular computer, development of molecular arrays as memory stores; molecular wires and switches; mechanisms of unit assembly.

Unit -VI: Design for a biomolecular photonic computer			(6 hours)

Assembly of photonic biomolecular memory store; Information processing; commercial prospects for biomolecular computing systems.

Learning Resources

Text Book:

- Brian R Eggins – ‘Biosensors an Introduction’, First edition, John Wiley & Sons

- Publishers, 1996.

- Loic J Blum, Pierre R Coulet – ‘Biosensors Principles and Applications’, First edition, Marcel Dekker,Inc, 1991.

- Donald G. Buerk – ‘Biosensors Theory and Applications’, First Edition Technomic Publishing. Co, Inc, 1993.

Reference Books:

- Elizabeth A Hall – ‘Biosensors’, First Edition, Open University, Milton Keynes, 1990.

- Graham Ramsay – ‘Commercial Biosensors’, First edition, John Wiley & Sons, Inc. 1998.

- Tran Minh Canh – ‘Sensor Physics & Technology – Biosensors’, First Edition, Champan & Hall, 1993.

Course Outcomes: At the end of the course, the student will be able to

| CO 1 | Understood the sources and use of electrical fields and currents in the context of biological systems and problems are discussed. |
| --- | --- |
| CO 2 | Solve problems related to the biosensing techniques and their physical concepts are introduced in a quantitative fashion. |
| CO 3 | Applied their gained knowledge and understanding for human welfare |
| CO 4 | Good understanding on biomolecules and their function |
| CO 5 | Better understanding of bioelectronics basic concept and application |
| CO 6 | Well understanding on basics and commercialization of biomolecular computing syatem. |

For Theory courses only:

Assessment Method

| Assessment Tool | Monthly tests | End Semester Test | Total |
| --- | --- | --- | --- |
| Weightage (%) | 40% | 60% | 100% |